## Summary - Civil & Joinery
2021-03-03
International Institute of Information Technology
26/C, Electronics City,
Bengaluru 560100
PROJECT: PROPOSED INTERIOR & SERVICES FOR WARDEN HOUSE AT BHASKARA, IIIT-B
SUMMARY
SL.NO | DESCRIPTION | AMOUNT
PART - 1 CIVIL & INTERIORS:
I | PARTITIONS/DOORS | 0
II | FALSE CEILING | 0
III | FURNITURE | 0
IV | FLOORING | 0
V | PAINTING | 0
VI | MISCELLANEOUS WORKS | 0
VII | TOILET WORKS | 0
VIII | GADGETS | 0
PART - 2 SERVICES:
IX | ELECTRICAL LIGHT FIXTURES | 0
X | ELECTRICAL WORKS | 0
| TOTAL | 0
| CGST 9% | 0
| SGST 9% | 0
| TOTAL | 0 | #REF!

## BOQ - Civil & Joinery
0 |  |  |  |  | 2021-03-03
PROJECT: PROPOSED INTERIOR & SERVICES FOR WARDEN HOUSE AT BHASKARA, IIIT-B
CIVIL & JOINERY BILL OF QUANTITIES
SL.NO | DESCRIPTION OF THE WORK | UNIT | QTY | RATE | AMOUNT
I | PARTITIONS/DOORS
1 | VENEER PANELING WITH WOODEN FRAME WORK | Smt | 20 |  | 0
Loc: Bed room head board, Bed rooms & Living room TV paneling, living room columns & flase beam
Providing and fixing wall paneling with aluminium frame work formed out of 50x25mm 1.2mm thk sections at 600mm c/c in and cladded with 12mm thick commercial ply finished with 4mm thk Veneer shall be stained to approved color & melamine polished. The cost to include making of groove, cutouts for electrical, data etc. as detailed. Basic rate of veneer shall be Rs. 80/Sft
2 | LEATHERETTE PANELLING | Smt | 6 |  | 0
Loc: Bed room head board
| Providing and fixing wall panelling with aluminium frame work formed out of 50x25mm 1.2mm thk sections at 600mm c/c in and cladded with 12mm thick commercial ply finished with leatherette as per approved color & design. |  |  |  | 0
3 | ALTERATION OF DOORS | Nos | 4 |  | 0
Loc: Bed rooms and toilets
| Alteration of flush door removing and replacing with new mechanise system. |  |  |  | 0
4 | DOORS
| Opening size: 750mm x 2100mm for wash room cubicle doors with out vision panel & with loovers. Thickness of the door - 25mm thk. Door frame size: 50mm x 60mm. | Nos | 2 |  | 0
5 | ALTERATION OF WARDROBE
Loc : Bedroom
| Alteration of wardrobe removing and re-fixing in different location with nut and bolt system | Nos | 2 |  | 0
| PARTITIONS/ DOORS TOTAL |  |  |  | 0
II | FALSE CEILING
1 | DESIGNER GYPSUM FALSE CEILING | Smt | 95 |  | 0
Loc: Bed rooms, living
| Providing and fixing Designer false ceiling using GI frame work and 12.5mm thick gypsum board as per the design. Rate shall be included for all necessary cutouts for electrical fixtures, AC fixtures etc. and to include scaffolding, tools etc complete. |  |  |  | 0
2 | GYPSUM COVE - 50x50MM | Rmt | 30 |  | 0
Loc: Bed rooms, living
| Providing & fixing straight / curvilinear designer gypsum cove in approved profile for indirect lighting formed out of Gypsum / POP in proper line & level as instructed by Architects. The cove shall be seemless and made smooth to recieve paint. |  |  |  | 0
| FALSE CEILING TOTAL |  |  |  | 0
III | FURNITURE:
1 | MATTRESS | Set | 1 |  | 0
| Providing and fixing of queen size mattress, pillows, blanket, bed cover, pillow cover, quilt, comfort, runner. |  |  |  | 0
2 | MATTRESS |  |  |  | 0
| Providing and fixing of single size mattress, pillows, blanket, bed cover, pillow cover, quilt, comfort, runner. | Set | 2 |  | 0
3 | SIDE TABLE STAND
| a) Providing and fixing of bed side table as per drawing. | Nos | 3 |  | 0
| b) Providing and fixing of sofa side table as per drawing. | Nos | 1 |  | 0
4 | PELMET - 150mm Ht. | Rmt | 18 |  | 0
| Providing and fixing pelmet in approved profile for writing board formed out of 19mm thick ply finished with laminate & edge lipped with melamine polished steam beech wooden beading as detailed. |  |  |  | 0
5 | 3 SEATER SOFA | Nos | 2 |  | 0
| Providing & Fixing of 3 seater sofa. |  |  |  | 0
6 | DINING TABLE | Nos | 1 |  | 0
| Dining table of size: 4800x1200mmx900mm ht . formed out of 25mm tk table top with veneer finish with SS base as detailed. |  |  |  | 0
7 | DINING TABLE CHAIRS | Nos | 12 |  | 0
| Providing & Fixing of dining table chairs. |  |  |  | 0
8 | VENEER FINISH TV UNIT | Nos | 1 |  | 0
Loc : Living room size 2250x450mm
| Providing & fixing of TV unit as per drawing formed out of 19mm thk commercial ply with veneer finish. All the surfaces shall be finished with approved veneer. |  |  |  | 0
9 | CENTER TABLE. | Nos | 1 |  | 0
Loc : Living room size 2250x450mm
| Center table of size: 1200mm x 600mm x 450mm ht / 900mm x 450mm x 450mm ht. formed out of 10mm thick toughened glass top with SS base as detailed. |  |  |  | 0
10 | STUDY TABLE
| Study table of size:1200x750mmx750mm ht . formed out of 25mm tk table top with veneer finish with SS base as detailed with side drawer. | Nos | 2 |  | 0
11 | STORAGE AND CROCKERIES UNIT
| Unit size :600mmx 600mmx 1200mm ht as per the drawing formed out of 19mm thk commercial ply with laminate finish. | Nos | 1 |  | 0
12 | COFFEE TABLE
| Coffee table of size: 600mm x 600mm x 450mm ht formed out of 10mm thick toughened glass top with SS base as detailed. | Nos | 2 |  | 0
| FURNITURE TOTAL |  |  |  | 0
IV | FLOORING / CLADDING:
1 | LAMINATED WOODEN FLOORING | Smt | 48 |  | 0
Loc: Bed room
| Providing and laying 8mm thk (EN-13329) laminate floor of appd. shade ( as approved)including accessories (class use of 23/33, AC-4 with 0.2mm thk direct pressure laminate on top) and groove construction with edge impregnated with seal to secure long lasting joints secured together with the help of suitable glue confirming to EN 13329. |  |  |  | 0
| FLOORING TOTAL |  |  |  | 0
V | PAINTING
1 | LUXURY EMULSION PAINTING FOR WALL. | Smt | 100 |  | 0
Loc: Bed room, living and kitechen
| Providing & applying Luxury emulsion paint of approved color to internal wall & ceiling surfaces including thoroughly brushing the surface to free from foreign matters, sand papering, filling all holes & cracks etc, applying lamby/ putty and rubbing down the surfaces, applying one coat of primer and putty. Applying 2 coats of plastic emulsion paint & finishing with roller to get luster finish. Rate to include scaffolding, tools etc complete. Make : Asian/ Dulux ICI |  |  |  | 0
2 | ACCENT COLOUR | Smt | 22 |  | 0
Loc:below the external windows in Bed room & living
| Same as above in accent colour |  |  |  | 0
3 | POP Punning | Smt | 20 |  | 0
| Providing and applying P.O.P punning on walls (an thickness of upto 12 mm) to make surface smooth and levelled to receive paint/wall paper/wall covering, The job shall include hacking the existing surface for proper bond, The job shall also include necessary staging/scaffolding, labour, materials, wastages, cleaning, all lead, lifts, etc,, all shall be completed in all aspects as shown in the drawings, specifications, including all other necessary related works as specified and as instructed and directed by the Engineer in charge, |  |  |  | 0
4 | Wall Paper | Smt | 6 |  | 0
Loc: TV wall in bed rooms and Crockery unit
| Providing & fixing approved wall paper paneling over existing gyp/ply partition with necessary surface preparation for receiving the wall paper complete as per detail dwg. & Architect's instruction. |  |  |  | 0
5 | PLASTIC EMULSION PAINTING FOR CEILING. | Smt | 90 |  | 0
| Providing & applying Plastic emulsion paint of approved color to internal wall & ceiling surfaces including thoroughly brushing the surface to free from foreign matters, sand papering, filling all holes & cracks etc, applying lamby/ putty and rubbing down the surfaces, applying one coat of primer and putty. Applying 2 coats of plastic emulsion paint & finishing with roller to get luster finish. Rate to include scaffolding, tools etc complete. |  |  |  | 0
| PAINTING TOTAL |  |  |  | 0
VI | MISCELLANEOUS WORKS
1 | CURTAINS | Smt | 28 |  | 0
Loc: Bed rooms and Living area up to floor
| Providing and fixing in position black out curtain with aluminium extrusion track system over the window opening. Required length of cross over shall be provided to ensure total black out. Curtain wands shall be at required distance from the floor. The cost shall include all related hardware, materials, necessary scaffolding etc.complete. [Manually Operated] |  |  |  | 0
2 | SHEER CURTAINS | Smt | 28 |  | 0
| Providing and fixing in position sheer curtain model and finish as approved.over the window opening. Required length of cross over shall be provided. Curtain wands shall be at required distance from the floor. The cost shall include all related hardware, materials, necessary scaffolding etc.complete. |  |  |  | 0
3 | DUETTE/ROMAN BLINDS. | Smt | 9 |  | 0
| Loc: Near TV unit and Crockery Unit |  |  |  | 0
Supplying & fixing Duette/Roman blinds with black out fabric which is 100% fibre glass, acrylic polymer and derivatives coated flame retardant of approved make for the specified areas as per manufacturer's specifications.
4 | COAT HANGER | Nos | 2 |  | 0
| Supplying & fixing of free standing coat hanger. |  |  |  | 0
| MISCELLANEOUS WORKS TOTAL |  |  |  | 0
VII | TOILET WORKS
1 | MIRROR PANELLING. | Smt | 6 |  | 0
| Providing and fixing of Mirror panel made of 6mm mirror with 12mm thick marine ply backing complete with edge finishing and all necessary backing/supports to the complete as approved by the Architect. |  |  |  | 0
2 | DISMANTLING WORKS | Lumpsum | 1 |  | 0
| Dismantling of brick / block/ floor tiles and carting away the debris outside the premises as directed at all heights & levels. Removing of sanitary fixture. |  |  |  | 0
3 | LEATHER FINISH GRANITE FLOORING. | Smt | 10 |  | 0
Loc : Toilets
| Providing and laying 12mm thick leather finished granite flooring using 300mm x 600mm granite slabs of approved granite laid in pattern as detailed over 20mm thick cement mortar 1:4 and cement slurry as detailed. The joints of granite floor shall be pointed using matching colored epoxy grout as joint filler. The rate quoted includes finishing and cleaning of floor before handing over etc., complete. |  |  |  | 0
4 | EWC |  |  |  | 0
| Providing and fixing vitrious china clay water closet European type with solid plastic seat and lid, CP/brass hinges, rubber buffers,Consealed type flushing valve (all are approved make a menioned below), with fittings, C.I / M.S brackets, 40mm dia flush bend with fittings and clamps, overflow arrangements with specials and 25mm mosquito proof coupling of approved design, painting of fittings and brackets, cutting and making good the wall and floor whereever required, including cost of materials, labour complete as per specifications and instructions of the Architect | Nos | 2 |  | 0
EWC : JAQUAR - CNS-WHT-9515 WALL HUNG- 370MM X 370MM X 535MM with regular seat cover
Concealed Cistern : JAQUAR - JCP-CHR-152415
CP fittings : Jaquar
5 | WASH BASIN
| Providing and fixing in position porcelain sanitary ware Wash Basin under counter type of kohler make, the wash basin shall be provided with CP WB sinkcock, CP stopcock with extension pipe, 32mm CP waste coupling, CP bottle trap, the CP fittings will be of kohler make and approved quality etc as instructed by the Architect. | Nos | 3 |  | 0
Wash Basin : JAQUAR CNS-WHT-703 UNDERCOUNTER
Waste couple : JAQUAR : ALD -709
Bottle Trap : JAQUAR ALD - 769
6 | WASH BASIN COUNTER
| Providing and fixing toilet washbasin counter slab Granite stone slab of 20mm thick machine cut to requisite size set over 20mm thick CM 1:3, on existing MS frame work with 19mm BWP ply including pointing with tinted white cement, tin - oxide, polishing, curing etc. complete. Rate to include providing fascias and making openings in the granite counter for seating wash basins/sinks etc. and pillar cock. Rate to include sink cutting and edge polishing and rounding of edges, sealing the joints with pigmented mastic etc. as approved and as directed. All lead and lift and as directed by Architect /Architect in charge at all levels and heights. | Smt | 1.2 |  | 0
7 | CORE CUTTING
Drilling with core cutting machine in RCC beams, slabs floor setc.,for laying pipes and rendering the same in RCC 1:2:4,finishing the same to the satisfaction of the Owner or his authorized representative etc., including nominal reinforcement wherever required, complete.
RCC slabs - Depth of Slabs between 125mm to 150mm
a) 25mm dia upto 50 mm dia pipe
| b) 51mm dia upto 110 mm dia pipe | Nos | 4 |  | 0
| c)111mm dia. upto 160 mm did pipe | Nos | 4 |  | 0
8 | Towel hangers | Nos | 3 |  | 0
| TOILET WORKS TOTAL |  |  |  | 0
VIII | GADGETS
1 | FRIDGE 165L | Nos | 1 |  | 0
| Supply of 165L refrigerator. (Make: Samsung/LG) |  |  |  | 0
2 | 55'' LED TV | Nos | 1 |  | 0
| Supply and Installation of 42'' LED TV. (Make: TCL 43P8E) |  |  |  | 0
3 | MICROWAVE OVEN 23L | Nos | 1 |  | 0
| Supply of 23L microwave oven. (Make: Samsung/LG) |  |  |  | 0
| GADGETS TOTAL |  |  |  | 0

## BOQ-Electrical
PROJECT: PROPOSED INTERIOR & SERVICES FOR WARDEN HOUSE AT BHASKARA, IIIT-B
ELECTRICAL, NETWORKING & AC
Sl. NO. | ITEM DESCRIPTION | Qty | UNIT | RATE | AMOUNT
qty
IX | ELECTRICAL FITTINGS
1 | The below mentioned Light fixture with Open construction low loss electronic / copper Ballasts, starter, HPF condenser, Low glare and with High lumens output lamps.
The installation shall be complete with all hardwares like anchor fasteners, set of chain / drop rods with ball & sockets, check nuts, flexible pipes with glands etc. complete.
The rate shall also include cutting open false ceiling and channels to the required sizes and finishing with pop works.
1.01 | 11watts LED recessed mounted warm light low depth downlighter with frosted diffuser and electronic ballasts complete with required lamps and support accessories.Make: Wipro | 10 | Each |  |  | 0
1.02 | 9watts LED recessed mounted Square(6"X6") low depth downlighter with frosted diffuser and electronic ballasts complete with required lamps and support accessories.Make: Wipro | 15 | Each |  |  | 0
1.03 | 7watts LED recessed mounted warm light low depth downlighter with frosted diffuser and electronic ballasts complete with required lamps and support accessories.Make: Wipro | RO | Each
1.04 | 18/22W LED 4feet Lights | 3 | Each |  |  | 0
1.05 | 8W LED Strip (5mtr in a length coil) for cove lighting | 10 | Rmt |  |  | 0
1.06 | Decorative Ceiling fan.1200mm Sweep Ceiling Fan with light,complete with rod,nut and bolts.(Living) | RO | Each
1.07 | 1200mm Sweep Ceiling Fan,complete with rod,nut and bolts.(Rooms) | RO | Each
1.08 | 225mm Sweep exhuast fan with complete accessories Make: CG/Havells.(Toilets and Kitchen) | 3 | Each |  |  | 0
1.09 | Decorative pendat lights (Small) of Architect's choice For Living & Dining. Basic rate - 9000/- | 2 | Each |  |  | 0
1.1 | 1x11W Decorative Mirror top light fixtures for toilets of Architect's choice | 2 | Each |  |  | 0
1.11 | 3W LED foot lamp/Night lamp with complete set as require-White color(Rooms) | 2 | Each |  |  | 0
1.12 | 3W LED 1-way Wall mounted Light, light should be with all accessories. | 6 | Each |  |  | 0
1.13 | 7W LED/Halogen suspended focus light with complete accessories. | 3 | Each |  |  | 0
| TOTAL FOR LIGHT FIXTURES |  |  |  |  | 0
X | ELECTRICAL WORKS
A | DISTRIBUTION BOARDS
1 | DISTRIBUTION BOARD
Factory fabricated Metal double door distribution boards of approved make with all the accessories like din rails for mounting MCB's, lugs, earth & neutral busbars, ELCBs, MCBs of 9/10kA with 'C' / D Curve characteristics etc. The DBs shall have compartments.Make: Legrand
1.01 | LPDB DB(Double Door type-ETPN Type) | RO | Each
DB enlosure:
6 Way TPN DB
Incoming:
40A FP 30mA ELCB-1No,
Outgoing:
10/16/20A SPMCB's - 18Nos ('C' curve)
B | POINT WIRING & SUBMAIN POWER WIRING
1 | 3 runs of 1.5sq.mm FRLS insulated Multistrand annealed bright electrolyite grade copper conductor FRLS PVC insulated wires of 1100 volts grade run in 2mm thick PVC conduits of not less than 19 mm dia size. A separate neutral shall be drawn for each circu
The rate shall include the fixing accessories like bends, collars, tees, junction boxes for conduiting, GI switch boxes with modular front plates with required switches as per the configuration and with civil works such as wall / floor / concrete chasing
The light point control shall be at convenient locations for all the areas as per the layout and hence the additional lenghts required if any, have to be considered accordingly.
The wiring of each of the light point has to be identified using ferrules on either ends of the conductor including nuetral & earthing.
Each of the light point has to be identified using aesthetically engraved stickers on both lighting switch board and the fittings.
No joints shall be permissible above false ceiling. The loop in loop out drop shall have enough length from true ceiling to the false ceiling level including little changes which may come up as per site condition.
1.01 | Single light point controlled by a 6 Amps modular key type switch. | 10 | Pts |  |  | 0
1.02 | Two light points controlled by a 6 Amps modular key type switch. | 6 | Pts |  |  | 0
1.03 | Three light points controlled by a 6 Amps modular key type switch. | 2 | Pts |  |  | 0
1.04 | Four light points controlled by a 6 Amps modular key type switch. | 2 | Pts |  |  | 0
1.05 | Ceiling/Wall mounted fan point controlled by one No.6 Amps modular key type SP Switch with an electronic stepped regulator for speed control. | RO | Pts
1.06 | Exhaust fan point controlled by one No.6 Amps modular key type SP Switch with a 6Amps 2+3pin modular shuttered socket near the fan. | RO | Pts
CIRCUIT WIRING:
2 | Supplying, laying and testing of following size and configuration FRLS PVC insulated bright annealed multistrand copper conductor wires/flexible cables of 650/1100 volts grade, run in 2 mm thick surface/recessed pvc conduits above the false ceiling / concealed in the wall / partition/ column cladding, with required accessories.
Colour coding - Wires Phase: Red / Yellow / Blue color Neutral: Black color Earthing: Green color
Colour coding - Conduits UPS circuit: Blue Raw power circuit: Black
Each circuit / wire shall be ferruled on both the ends, including the terminations using tinned copper lugs. Each conduit shall be separately clamped with saddles and base plates. The rate shall also include civil works such as wall chasing, patching and finishing wherever required.
CIRCUIT WIRING:
2.01 | 2R x 2.5 + 1R x 1.5 Sq.mm. wires in 19 / 20 mm dia. conduit - Lighting Distribution | 40 | RMT |  |  | 0
2.02 | 2R x4.0 + 1R x 2.5 Sq.mm. wires in 25 mm dia. conduit - Raw Power Sockets Distribution | 80 | RMT |  |  | 0
C | POWER RECEPTACLES
COMMERCIAL TYPE
Supply and installation of following modular power outlets of approved make, mounted flush on to the partition, wall using necessary fixing & wiring accessories including G.I outlet boxes etc. including cutting open the cutouts for switch plates on partition, civil works such as wall chasing, finishing to the level etc.,
Sockets shall be provided with aesthetically engraved stickers in different colors for UPS & Raw power.
The rates quoted shall be for approved color. The boxes shall be provided with earthing terminals and required interconnecting wiring.
Note: The wiring for power Receptacles shall be measured(above) separately.
Make: Anchor Roma
1 | ON RAW POWER CIRCUIT:
1.01 | 1 No. 6A 5 pin Universal shuttered socket controlled by 6 A SP switch, fixed on partition/colum - Mobile Chagring and Lighting(Dependent) | 14 | SET |  |  | 0
1.02 | 1 No. 6A 5 pin Universal shuttered socket controlled by 6 A SP switch, fixed on partition/colum -(Independent) | 5 | SET |  |  | 0
1.03 | 1 No. 16 A 5 pin Universal shuttered socket controlled by 16 A SP switch with indicator,(For Kitchen and Utility) | 5 | SET |  |  | 0
1.04 | 1 No. 20 A 5 pin Universal shuttered socket controlled by 32 A DP switch with indicator,(For UPS.AC and Geysers) | 8 | SET |  |  | 0
1.05 | 2 Nos. 6/13A intel sockets controlled by 16 A SP switch with indicator and with required blank plate. The rate shall exclude mounting GI Back box -(For TV) | 3 | SET |  |  | 0
1.06 | Shaver Socket:230V/120-230V with earth connector(International Type) | RO | SET
2 | INDUSTRIAL TYPE
Supply and installation of factory made Polycarbonate totally enclosed industrial socket / interlocked combined rotary switch and socket with scrapping earth connection and plug top. All switches & sockets shall be housed in powder coated MS boxes.
SINGLE PHASE OUTLETS:
2.01 | 16/20 A 1ф 240 V Industrial plug and socket with 20 A MCB as control, housed in MS enclosure. The rate shall include interconnection and required accessories complete (Outdoor Type)- For HVAC equipments | RO | NOS
D | EARTHING
1 | EARTHING CONDUCTORS
The earthing conductors with necessary fixing accessories like GI strip saddles and hardware. Cost to include all necessary routings, civil works like wall openings etc.
Erection rate shall be for both indoor and outdoor routing inclusive of earth excavation work. Copper tapes shall be of 95% purity Commercial grade.
The GI earthing tapes have to be laid with welded joints and painted with green color, with clamps at regular intervals.
The copper earthing tapes have to be laid with brazed joints, PCV sleeve, Porcelain supports at regular intervals.
1.01 | 25mm x 3mm GI tape. | RO | RMT
1.02 | 8 SWG GI Wire | 40 | RMT |  |  | 0
E | WIRES / CABLE MANAGEMENT
1 | PVC CONDUITING
FRLS PVC conduits of following sizes with 2.0 mm wall thickness and with required conduit accessories like bends, collars, junction boxes, supporting clamps, GI fish wire etc. Providing required ladders for the entire height (including double height floors) of the floor is part of the work.Make; VIP/National
1.01 | 19mm dia PVC conduit . | 50 | RMT |  |  | 0
1.02 | 25mm dia PVC conduit . | 80 | RMT |  |  | 0
1.03 | 32mm dia PVC conduit . | 10 | RMT |  |  | 0
1.04 | 50mm dia PVC conduit . | 10 | RMT |  |  | 0
F | MISCELLANIOUS ITEMS
1.01 | Supply and Installation of Co-axial Socket with reqired module box for Television | 3 | Nos |  |  | 0
1.02 | Supply and Laying of Co-axial cable RG-6 in 20mm PVC Conduits | 60 | Rmt |  |  | 0
1.03 | Supplying, Installing, testing and commissioning conventional sprinkler quartzoid bulb type with 15mm screwed end connection of 68 deg. C.temperature rating. Sprinklers shall be UL listed / FM approved. The body of sprinkler shall be Chromium Plated/Powder Coated.
a | Pendent | RO | Nos
1.04 | Providing, fixing, testing & commissioning of U.L.listed/ FM approved corrugated SS-304 Braided flexible sprinkler pipe droplet for 12 kg/ sq. cm. working pressure with 1/2" BSP threaded outlet & 1" BSP threaded inlet with reducer nipple, snap, clamp, T-bar bracket etc. with necessary fitting complete as required.
a | 1500mm | 6 | Nos |  |  | 0
1.05 | Supply, installation 3-phase energy meter with bus bar, fuse and MCB complete enclosed in metal enclosure | RO | Nos
1.06 | Supply, installation chimney 90cm 1200m3/hr | RO | Nos
1.07 | Removing,and refixing electrical gadgets as per requirement. | 1 | LS |  |  | 0
1.08 | 3 Sets of asbuilt drawing and soft copy in CD with completion reports, History cards, Prevention maintance schedule etc. | RO | LS
| ELECTRICAL WORKS TOTAL |  |  |  |  | 0